## Slide 1
TOWING CAMPAIGN START
Mobilise Vessels
Select Turbine to operate
Electric disconnection
Mooring disconnection
TTP
MCE at port
TTS
Mooring Connection
Electric Connection
Recommissioning Connection
Any Operation to be conducted
END OF TOWING CAMPAIGN
Condition available ?
Wait
Availability
YES
NO
Vessel/Weather Availability
NO
YES
Vessel/Weather Availability
Vessel/Weather Availability
Vessel/Weather Availability
Transit
Site
Port
Merge Deferred TTP operations

## Slide 2
Operation monthly Statistic duration
Mobilise Vessels
Stipulate chart
Vessel arrive at port
Conduct operation (WoW considered)
Operation to conduct
Operation concluded inside contract terms ?
YES
NO
Can conduct other operation ?
NO
YES
Dismiss Vessel
Vessel Mobilisation Scheduler

## Slide 3
Monthly scenario distribution selection
Apply component lifecycle distribution influence
Randomly Failure distribution across the project lifetime
Any Failure to be generated?
Lifetime specific failure estimation for whole project
Poisson generation
Fr*#element*#years
< 1 failure
> 1 failure
NO
YES
END FAILURE GENERATION
START FAILURE GENERATION
Failure generation

## Slide 4
Update operation merged
Update vessel use
Randomly Failure distribution across the project lifetime
Any Operation to be merged?
Evaluate type of intervention
Immediate merge module
Deferred merge module
immediate
deferred
NO
YES
END merge operation
Similar operation requirements classification
START merge operation
Merge operation

## Slide 5
Update operation merged
Update vessel use
Any Operation to be merged?
Vessel capacity respected?
Use a new vessel
NO
YES
NO
YES
END merge operation
Similar operation requirements classification
START merge immediate operation
Merge immediate operation
Simultaneous operation
Drop-off personnel
NO
YES
Operation merged exceed available/max shift hours?
Do not merge operations

## Slide 6
Update operation merged
Update vessel use
Any Operation to be conducted?
Vessel capacity respected?
A vessel is available?
NO
YES
NO
YES
END merge operation
Similar operation vessel requirement
START merge deferred operation
Merge deferred operation
Simultaneous operation
Drop-off personnel
NO
YES
Operation merged exceed available/max shift hours?
Do not merge Wait next available day
Vessel required at device?
Consecutive operation
After completion of previous operation
YES
NO
YES
NO

## Slide 7
Account as LT chart vessel
NO
YES
Evaluate if LT chart vessel available
Count number of days the vessel is used
Vessel day counter
Vessel use from start of operation to its actual end
Store calendar vessel use
Account as ST chart vessel
Vessel use from start of operation to its contract end
Operation left conducted?
NO
END vessel counter
Vessel day counter